## Sheet1
AT LH coil | [7 empty] | AT CTR coil | [7 empty] | AT RH coil | [7 empty] | At compressor inlet | [6 empty] | Comp outlet |  | At Condenser | [6 empty] | At TXV LH |  |  |  | At TXV CTR |  |  |  | At TXV RH |  |  |  | TOTAL
TXV out | Coil in | Coil out | T saturation | Super heat | Density | Enthalpy | Entropy | TXV out | Coil in | Coil out | T saturation | Super heat | Density | Enthalpy | Entropy | TXV out | Coil in | Coil out | T saturation | Super heat | Density | Enthalpy | Entropy | Press.suc | Comp.in | T saturation | Super heat | Density | Enthalpy | Entropy | T comp outlet | Comp. rpm | T cond inlet | Press disch | T cond. Outlet | T saturation | Sub cooling | Cond.water.in | Cond.water.out | TXV in-LH | T_Saturation | Subcooling | Enthalpy | TXV in-CTR | T_Saturation | Subcooling | Enthalpy | TXV in-LH | T_Saturation | Subcooling | Enthalpy | Mass flow rate | Cooling cap
T_1a-lh | T_1b-lh | T_2a-LH | T_sat.lh | S.H_lh coil | D_coil lh | H_coil lh | S_coil lh | T_1a-ctr | T_1b-ctr | T_2a-ctr | T_sat.ctr | S.H_ctr coil | D_coil ctr | H_coil ctr | S_coil ctr | T_1a-rh | T_1c-rh | T_2a-RH | T_sat.rh | S.H_rh coil | D_coil rh | H_coil rh | S_coil rh | P_suction | T_2b | T_sat.comp.in | S.H_total | D_comp.in | H_comp.in | S_comp.in | T_3a | rpm | T_3b | P_disch | T_4a | T_sat.cond | S.C | T_waterin | T_waterout | T_4b-lh | T_sat.txv.lh | S.C-txv.lh | H_txv.lh | T_4b-ctr | T_sat.txv.ctr | S.C-txv.ctr | H_txv.ctr | T_4b-lh | T_sat.txv.rh | S.C-txv.rh | H_txv.rh | m_dot | qc